MEGANITE WALL CLADDING

INSTALLATION RECOMMENDATIONS FOR

INTERIOR COMMERCIAL APPLICATIONS, 6/12mm.

SECTION OF VERTICAL JOINTS

6MM MEGANITE PANELS

MEGANITE BONDED AND SEALED	    BONDED TO CORE

A AT JOINT WITH SIKAFLEX SEALANT                                     BOARD WITH SILICONE/SIKA

BOARD MATERIAL		6MM X 50MM WIDE MEGANITE

FIXED TO EX WALLS		PANEL GLUED TO WALL AND SIKAFLEX

IF NOT FLAT			BONDED TO MEGANITE PANELS

ALTERNATIVE SECTION OF VERTICAL JOINTS and Ceiling joint

6MM PANELS BONDED TO WALL WITH

SILICONE/SIKA , WALL MUST BE FLAT,		6MM SWAN PANELS 3MM REBATE

SMOOTH, AND UNI-BOND SEALED	BONDED WITH SIKAFLEX SEALANT

Alternative rebate and glue with meganite glue

Alternative vertical joint details

Shadow gap detail , bond with colour match silicone

Bond joint with colour matched silicone or Meganite glue and sand

if siliconing swan to wall , swan glue min 50mm wide swan strip behind joint

External corner detail			glue  MEGANITE

Colour match silicone

Or meganite glue as

above